## names
1 | Bagerhat District Hospital, Bagerhat
2 | Bandarban District Hospital, Bandarban
3 | Barguna District Hospital, Barguna
4 | Barisal District Hospital, Barisal
5 | Bhola District Hospital, Bhola
6 | Mohammad Ali District Hospital , Bogra
7 | Sirajganj General Hospital
8 | B.Baria District Hospital, B.Baria
9 | Chandpur District Hospital, Chandpur
10 | Nababganj District Hospital, Nababganj
11 | Chittagong General Hospital, Chittagong
12 | Chuadanga District Hospital, Chuadanga
13 | Comilla District Hospital, Comilla
14 | Coxs Bazar District Hospital, Coxs Bazar
15 | Dinajpur District Hospital, Dinajpur
16 | Faridpur General Hospital, Faridpur
17 | Feni District Hospital, Feni
18 | Gaibandha District Hospital, Gaibandha
19 | Gazipur District Hospital, Gazipur
20 | Gopalganj District Hospital, Gopalganj
21 | Hobiganj District Hospital, Hobiganj
22 | Jamalpur District Hospital, Jamalpur
23 | Jessore District Hospital, Jessore
24 | Jhalokati District Hospital, Jhalokati
25 | Jhenaidah District Hospital, Jhenaidah
26 | Joypurhat District Hospital, Joypurhat
27 | Khagrachari District Hospital, Khagrachari
28 | Khulna District Hospital, Khulna
29 | Kishoreganj District Hospital, Kishoreganj
30 | Kurigram District Hospital, Kurigram
31 | Kurmitola General Hospital ( 500 Bed )
32 | Kushtia District Hospital, Kushtia
33 | Laxmipur District Hospital, Laxmipur
34 | Lalmonirhat District Hospital, Lalmonirhat
35 | Madaripur District Hospital, Madaripur
36 | Magura District Hospital, Magura
37 | Manikganj District Hospital, Manikganj
38 | Meherpur District Hospital, Meherpur
39 | M.Bazar District Hospital, M.Bazar
40 | Mugda 500 beded General Hospital
41 | Munshiganj District Hospital, Munshiganj
42 | Naogaon District Hospital, Naogaon
43 | Narail District Hospital, Narail
44 | Narayanganj 300 bed Hospital
45 | Narayanganj General (Victoria) Hospital (100bed)
46 | Narsingdi (100 bed) Zila Hospital, Narshingdi
47 | Narsingdi District Hospital, Narsingdi
48 | Natore District Hospital, Natore
49 | Netrokona District Hospital, Netrokona
50 | Nilphamari District Hospital, Nilphamari
51 | Noakhali District Hospital, Noakhali
52 | Pabna District Hospital, Pabna
53 | Panchagarh District Hospital, Panchagarh
54 | Patuakhali District Hospital, Patuakhali
55 | Pirojpur District Hospital, Pirojpur
56 | Rajbari District Hospital, Rajbari
57 | Rangamati District Hospital, Rangamati
58 | 100 Bed Hospital, Saidpur, Nilphamari
59 | Satkhira District Hospital, Satkhira
60 | Shariatpur District Hospital, Shariatpur
61 | Sherpur District Hospital, Sherpur
62 | Sunamganj District Hospital, Sunamganj
63 | Shahid Shamsuddin District Hospital, Sylhet
64 | Tangail District Hospital, Tangail
65 | Thakurgaon District Hospital, Thakurgaon

## 1
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 4 | 2 | 2
2 | Anesthesia Machine | 7 | 5 | 2
3 | Autoclave | 3 | 0 | 3
4 | Defibrilitator | 2 | 1 | 1
5 | Desktop Computer | 32 | 26 | 6
6 | Diathermy | 3 | 1 | 2
7 | ECG | 8 | 3 | 5
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 9 | 4 | 5
10 | X-Ray | 6 | 5 | 1
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 0 | 2

## 2
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 4 | 2 | 2
2 | Anesthesia Machine | 2 | 2 | 0
3 | Autoclave | 2 | 2 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 25 | 24 | 1
6 | Diathermy | 2 | 2 | 0
7 | ECG | 3 | 1 | 2
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 6 | 4 | 2
10 | X-Ray | 4 | 4 | 0
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 4 | 4 | 0

## 3
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 3 | 0
2 | Anesthesia Machine | 4 | 2 | 2
3 | Autoclave | 1 | 1 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 20 | 15 | 5
6 | Diathermy | 7 | 5 | 2
7 | ECG | 5 | 3 | 2
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 2 | 1
10 | X-Ray | 3 | 3 | 0
11 | Ventilator | 2 | 1 | 1
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 2 | 1

## 4
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 1 | 1
2 | Anesthesia Machine | 2 | 2
3 | Autoclave | 2 | 2
4 | Defibrilitator | 0 | 0
5 | Desktop Computer | 25 | 25
6 | Diathermy | 1 | 1
7 | ECG | 2 | 2
8 | Endoscopy | 0 | 0
9 | Microscope | 2 | 2
10 | X-Ray | 2 | 1 | 1
11 | Ventilator | 0 | 0
12 | CT Scan | 0 | 0
13 | MRI | 0 | 0
14 | Ultrasonogram | 3 | 2 | 1

## 5
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 4 | 2 | 0
3 | Autoclave | 15 | 6 | 2
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 35 | 28 | 0
6 | Diathermy | 4 | 2 | 0
7 | ECG | 4 | 2 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 1 | 1 | 0
10 | X-Ray | 4 | 2 | 0
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 4 | 2 | 0

## 6
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 10 | 7 | 3
3 | Autoclave | 10 | 3 | 7
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 35 | 35 | 0
6 | Diathermy | 12 | 7 | 5
7 | ECG | 3 | 3 | 0
8 | Endoscopy | 1 | 0 | 1
9 | Microscope | 6 | 3 | 3
10 | X-Ray | 4 | 3 | 1
11 | Ventilator | 2 | 1 | 1
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 1 | 2

## 7
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 4 | 4 | 0
3 | Autoclave | 6 | 1 | 5
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 6 | 6 | 0
6 | Diathermy | 4 | 4 | 0
7 | ECG | 5 | 5 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 5 | 5 | 0
10 | X-Ray | 2 | 2 | 0
11 | Ventilator | 2 | 2 | 0
12 | CT Scan | 1 | 1 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 5 | 3 | 2

## 8
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 3 | 3 | 0
3 | Autoclave | 4 | 4 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 31 | 31 | 3
6 | Diathermy | 4 | 4 | 0
7 | ECG | 2 | 2 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 3 | 0
10 | X-Ray | 2 | 2 | 0
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 2 | 0

## 9
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 2 | 1
2 | Anesthesia Machine | 6 | 2 | 4
3 | Autoclave | 5 | 5 | 0
4 | Defibrilitator | 1 | 1 | 0
5 | Desktop Computer | 24 | 15 | 9
6 | Diathermy | 5 | 5 | 0
7 | ECG | 8 | 4 | 4
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 4 | 4 | 0
10 | X-Ray | 3 | 2 | 1
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 2 | 0

## 10
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 4 | 2 | 2
2 | Anesthesia Machine | 2 | 1 | 1
3 | Autoclave | 12 | 7 | 5
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 28 | 22 | 6
6 | Diathermy | 2 | 1 | 1
7 | ECG | 2 | 1 | 1
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 2 | 2 | 0
10 | X-Ray | 4 | 2 | 2
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 1 | 1 | 0

## 11
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 9 | 2 | 7
3 | Autoclave | 2 | 2 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 33 | 31 | 2
6 | Diathermy | 6 | 1 | 0
7 | ECG | 6 | 1 | 5
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 3 | 0
10 | X-Ray | 5 | 2 | 3
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 1 | 1 | 0
14 | Ultrasonogram | 4 | 2 | 2

## 12
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 3 | 1 | 0
3 | Autoclave | 10 | 10 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 13 | 13 | 0
6 | Diathermy | 5 | 5 | 0
7 | ECG | 2 | 2 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 2 | 2 | 0
10 | X-Ray | 4 | 3 | 1
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 0 | 2

## 13
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 3 | 2 | 1
3 | Autoclave | 3 | 2 | 1
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 31 | 31 | 0
6 | Diathermy | 9 | 4 | 5
7 | ECG | 8 | 2 | 6
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 5 | 2 | 3
10 | X-Ray | 3 | 1 | 2
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 1 | 2

## 14
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 5 | 5 | 0
3 | Autoclave | 2 | 2 | 0
4 | Defibrilitator | 3 | 3 | 0
5 | Desktop Computer | 40 | 40 | 0
6 | Diathermy | 7 | 7 | 0
7 | ECG | 6 | 6 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 4 | 4 | 0
10 | X-Ray | 3 | 2 | 1
11 | Ventilator | 2 | 2 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 1 | 1 | 0

## 15
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 5 | 5 | 0
3 | Autoclave | 4 | 4 | 0
4 | Defibrilitator | 2 | 2 | 0
5 | Desktop Computer | 29 | 29 | 0
6 | Diathermy | 2 | 2 | 0
7 | ECG | 3 | 3 | 0
8 | Endoscopy | 1 | 1 | 0
9 | Microscope | 3 | 3 | 0
10 | X-Ray | 2 | 2 | 0
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 2 | 0

## 16
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 7 | 4 | 3
3 | Autoclave | 6 | 4 | 2
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 32 | 19 | 13
6 | Diathermy | 8 | 2 | 6
7 | ECG | 4 | 2 | 2
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 4 | 4 | 0
10 | X-Ray | 4 | 2 | 2
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 2 | 1

## 17
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 1 | 1 | 0
2 | Anesthesia Machine | 5 | 5 | 0
3 | Autoclave | 2 | 2 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 15 | 15 | 0
6 | Diathermy | 7 | 7 | 0
7 | ECG | 5 | 5 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 2 | 2 | 0
10 | X-Ray | 2 | 2 | 0
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 1 | 1 | 0

## 18
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 3 | 2 | 1
3 | Autoclave | 1 | 1 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 22 | 22 | 0
6 | Diathermy | 1 | 1 | 0
7 | ECG | 1 | 1 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 3 | 0
10 | X-Ray | 2 | 1 | 1
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 1 | 1 | 0

## 19
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 4 | 2 | 2
2 | Anesthesia Machine | 9 | 8 | 1
3 | Autoclave | 0 | 0 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 44 | 39 | 5
6 | Diathermy | 8 | 6 | 2
7 | ECG | 15 | 15 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 17 | 3 | 4
10 | X-Ray | 3 | 3 | 0
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 1 | 0 | 0
14 | Ultrasonogram | 6 | 5 | 1

## 20
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 3 | 0
2 | Anesthesia Machine | 3 | 2 | 1
3 | Autoclave | 3 | 2 | 1
4 | Defibrilitator | 1 | 1 | 0
5 | Desktop Computer | 0 | 0 | 0
6 | Diathermy | 15 | 12 | 13
7 | ECG | 12 | 8 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 0 | 0 | 0
10 | X-Ray | 2 | 1 | 1
11 | Ventilator | 2 | 1 | 1
12 | CT Scan | 1 | 1 | 0
13 | MRI | 1 | 1 | 0
14 | Ultrasonogram | 20 | 0 | 0

## 21
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 5 | 2 | 3
2 | Anesthesia Machine | 6 | 6 | 0
3 | Autoclave | 2 | 1 | 1
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 5 | 4 | 1
6 | Diathermy | 5 | 5 | 0
7 | ECG | 4 | 2 | 2
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 2 | 1 | 0
10 | X-Ray | 3 | 1 | 2
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 1 | 2

## 22
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 6 | 2 | 4
2 | Anesthesia Machine | 5 | 4 | 1
3 | Autoclave | 3 | 3 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 42 | 41 | 1
6 | Diathermy | 4 | 4 | 0
7 | ECG | 9 | 4 | 5
8 | Endoscopy | 1 | 1 | 0
9 | Microscope | 4 | 3 | 1
10 | X-Ray | 3 | 1 | 2
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 5 | 2 | 3

## 23
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 3 | 0
2 | Anesthesia Machine | 5 | 5 | 0
3 | Autoclave | 2 | 2 | 0
4 | Defibrilitator | 1 | 1 | 0
5 | Desktop Computer | 23 | 23 | 0
6 | Diathermy | 5 | 5 | 0
7 | ECG | 3 | 3 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 2 | 2 | 0
10 | X-Ray | 2 | 2 | 0
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 2 | 0

## 24
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 4 | 4 | 0
3 | Autoclave | 4 | 4 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 30 | 30 | 0
6 | Diathermy | 2 | 2 | 0
7 | ECG | 4 | 4 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 4 | 4 | 0
10 | X-Ray | 2 | 2 | 0
11 | Ventilator | 2 | 2 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 3 | 0

## 25
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 4 | 4 | 0
2 | Anesthesia Machine | 7 | 4 | 3
3 | Autoclave | 13 | 5 | 8
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 27 | 27 | 0
6 | Diathermy | 5 | 5 | 0
7 | ECG | 5 | 5 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 6 | 3 | 3
10 | X-Ray | 5 | 5 | 0
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 2 | 0

## 26
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 8 | 8 | 0
3 | Autoclave | 4 | 4 | 0
4 | Defibrilitator | 2 | 0 | 0
5 | Desktop Computer | 31 | 31 | 0
6 | Diathermy | 6 | 6 | 0
7 | ECG | 6 | 6 | 0
8 | Endoscopy | 5 | 5 | 0
9 | Microscope | 4 | 4 | 0
10 | X-Ray | 8 | 8 | 0
11 | Ventilator | 2 | 2 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 1 | 1 | 0
14 | Ultrasonogram | 3 | 3 | 0

## 27
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 2 | 1
2 | Anesthesia Machine | 4 | 3 | 1
3 | Autoclave | 7 | 4 | 3
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 29 | 25 | 4
6 | Diathermy | 2 | 2 | 0
7 | ECG | 6 | 6 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 6 | 1 | 0
10 | X-Ray | 6 | 2 | 4
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 1 | 1

## 28
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 3 | 0
2 | Anesthesia Machine | 2 | 2 | 0
3 | Autoclave | 5 | 5 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 32 | 32 | 0
6 | Diathermy | 3 | 3 | 0
7 | ECG | 2 | 2 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 4 | 4 | 0
10 | X-Ray | 5 | 3 | 2
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 1 | 1 | 0

## 29
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 12 | 12 | 0
3 | Autoclave | 8 | 8 | 0
4 | Defibrilitator | 2 | 2 | 0
5 | Desktop Computer | 26 | 26 | 0
6 | Diathermy | 9 | 9 | 0
7 | ECG | 7 | 7 | 7
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 3 | 0
10 | X-Ray | 6 | 6 | 0
11 | Ventilator | 2 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 2 | 0

## 30
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 5 | 5 | 0
3 | Autoclave | 6 | 6 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 25 | 25 | 0
6 | Diathermy | 3 | 3 | 0
7 | ECG | 3 | 3 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 3 | 0
10 | X-Ray | 3 | 3 | 0
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 1 | 1 | 0
14 | Ultrasonogram | 3 | 3 | 0

## 31
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 4 | 4 | 0
2 | Anesthesia Machine | 15 | 11 | 4
3 | Autoclave | 6 | 4 | 2
4 | Defibrilitator | 25 | 25 | 0
5 | Desktop Computer | 42 | 42 | 0
6 | Diathermy | 17 | 13 | 4
7 | ECG | 10 | 10 | 0
8 | Endoscopy | 1 | 1 | 0
9 | Microscope | 10 | 9 | 1
10 | X-Ray | 10 | 6 | 4
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 1 | 0 | 1
13 | MRI | 1 | 0 | 1
14 | Ultrasonogram | 10 | 9 | 1

## 32
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 2 | 1
2 | Anesthesia Machine | 9 | 7 | 2
3 | Autoclave | 5 | 3 | 2
4 | Defibrilitator | 2 | 2 | 0
5 | Desktop Computer | 32 | 32 | 0
6 | Diathermy | 12 | 7 | 5
7 | ECG | 10 | 7 | 3
8 | Endoscopy | 1 | 1 | 0
9 | Microscope | 1 | 1 | 0
10 | X-Ray | 9 | 6 | 3
11 | Ventilator | 3 | 2 | 1
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 5 | 4 | 1

## 33
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 6 | 6 | 0
3 | Autoclave | 5 | 5 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 20 | 20 | 0
6 | Diathermy | 4 | 4 | 0
7 | ECG | 3 | 3 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 5 | 5 | 0
10 | X-Ray | 5 | 5 | 0
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 3 | 0

## 34
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 6 | 6 | 0
3 | Autoclave | 10 | 4 | 6
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 19 | 10 | 9
6 | Diathermy | 6 | 6 | 0
7 | ECG | 3 | 3 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 3 | 0
10 | X-Ray | 6 | 5 | 1
11 | Ventilator | 1 | 0 | 1
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 1 | 2

## 35
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 5 | 2 | 4
2 | Anesthesia Machine | 7 | 5 | 2
3 | Autoclave | 10 | 4 | 6
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 30 | 25 | 5
6 | Diathermy | 2 | 2 | 0
7 | ECG | 5 | 2 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 7 | 3 | 4
10 | X-Ray | 4 | 1 | 3
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 1 | 1 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 1 | 2

## 36
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 4 | 1 | 1
2 | Anesthesia Machine | 3 | 1 | 0
3 | Autoclave | 3 | 2 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 31 | 31 | 0
6 | Diathermy | 1 | 1 | 0
7 | ECG | 3 | 1 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 1 | 1 | 0
10 | X-Ray | 6 | 3 | 0
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 1 | 1 | 0

## 37
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance
2 | Anesthesia Machine
3 | Autoclave
4 | Defibrilitator
5 | Desktop Computer
6 | Diathermy
7 | ECG
8 | Endoscopy
9 | Microscope
10 | X-Ray
11 | Ventilator
12 | CT Scan
13 | MRI
14 | Ultrasonogram

## 38
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 6 | 5 | 1
3 | Autoclave | 13 | 7 | 6
4 | Defibrilitator | 2 | 2 | 0
5 | Desktop Computer | 32 | 32 | 0
6 | Diathermy | 7 | 5 | 2
7 | ECG | 10 | 1 | 9
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 6 | 3 | 3
10 | X-Ray | 6 | 6 | 0
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 0 | 2

## 39
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 10 | 10 | 0
3 | Autoclave | 11 | 11 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 67 | 67 | 0
6 | Diathermy | 4 | 4 | 0
7 | ECG | 10 | 10 | 0
8 | Endoscopy | 2 | 2 | 0
9 | Microscope | 6 | 6 | 0
10 | X-Ray | 2 | 2 | 0
11 | Ventilator | 2 | 2 | 0
12 | CT Scan | 1 | 1 | 0
13 | MRI | 1 | 1 | 0
14 | Ultrasonogram | 2 | 2 | 0

## 40
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 1 | 1
2 | Anesthesia Machine | 11 | 11
3 | Autoclave | 11
4 | Defibrilitator
5 | Desktop Computer
6 | Diathermy
7 | ECG
8 | Endoscopy
9 | Microscope
10 | X-Ray
11 | Ventilator
12 | CT Scan
13 | MRI
14 | Ultrasonogram

## 41
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 1 | 1
2 | Anesthesia Machine | 5 | 4 | 1
3 | Autoclave | 5 | 2 | 3
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 35 | 31 | 4
6 | Diathermy | 5 | 3 | 2
7 | ECG | 4 | 1 | 3
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 4 | 3 | 1
10 | X-Ray | 4 | 3 | 1
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 3 | 0

## 42
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 1 | 1 | 0
2 | Anesthesia Machine
3 | Autoclave | 0 | 0 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 24 | 22 | 2
6 | Diathermy | 2 | 2 | 0
7 | ECG | 2 | 2 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 3 | 0
10 | X-Ray | 5 | 5 | 0
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 2 | 0

## 43
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 2 | 1
2 | Anesthesia Machine | 9 | 1 | 8
3 | Autoclave | 10 | 2 | 8
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 15 | 15 | 0
6 | Diathermy | 8 | 4 | 4
7 | ECG | 3 | 2 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 2 | 1
10 | X-Ray | 5 | 4 | 1
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 1 | 1

## 44
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 2 | 1
2 | Anesthesia Machine | 2 | 1 | 1
3 | Autoclave | 2 | 2 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 25 | 17 | 8
6 | Diathermy | 5 | 3 | 2
7 | ECG | 5 | 3 | 2
8 | Endoscopy | 1 | 1 | 0
9 | Microscope | 2 | 1 | 1
10 | X-Ray | 3 | 3 | 0
11 | Ventilator | 2 | 2 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 1 | 1 | 0

## 45
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 1 | 1 | 0
2 | Anesthesia Machine | 3 | 3 | 0
3 | Autoclave | 6 | 6 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 11 | 11 | 0
6 | Diathermy | 0 | 0 | 0
7 | ECG | 3 | 1 | 2
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 0 | 0
10 | X-Ray | 2 | 1 | 0
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 2 | 0

## 46
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 1 | 1 | 0
2 | Anesthesia Machine | 5 | 4 | 1
3 | Autoclave | 7 | 6 | 1
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 34 | 34 | 0
6 | Diathermy | 5 | 4 | 1
7 | ECG | 7 | 5 | 2
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 6 | 5 | 1
10 | X-Ray | 2 | 1 | 1
11 | Ventilator | 1 | 0 | 1
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 4 | 2 | 2

## 47
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 0 | 1
2 | Anesthesia Machine | 3 | 3 | 0
3 | Autoclave | 5 | 2 | 3
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 36 | 36 | 0
6 | Diathermy | 7 | 3 | 4
7 | ECG | 4 | 1 | 3
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 6 | 2 | 4
10 | X-Ray | 4 | 2 | 2
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 1 | 1

## 48
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 3 | 0
2 | Anesthesia Machine | 3 | 3 | 0
3 | Autoclave | 4 | 4 | 0
4 | Defibrilitator | 1 | 1 | 0
5 | Desktop Computer | 38 | 38 | 0
6 | Diathermy | 3 | 3 | 0
7 | ECG | 3 | 3 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 5 | 5 | 0
10 | X-Ray | 3 | 3 | 0
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 5 | 5 | 0

## 49
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 1 | 1 | 0
2 | Anesthesia Machine | 1 | 1 | 0
3 | Autoclave | 3 | 3 | 0
4 | Defibrilitator | 4 | 4 | 0
5 | Desktop Computer | 14 | 14 | 0
6 | Diathermy | 1 | 1 | 0
7 | ECG | 3 | 3 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 3 | 0
10 | X-Ray | 2 | 2 | 0
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 1 | 1 | 0

## 50
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 7 | 3 | 4
3 | Autoclave | 5 | 5 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 27 | 13 | 14
6 | Diathermy | 4 | 4 | 0
7 | ECG | 3 | 2 | 1
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 3 | 0
10 | X-Ray | 4 | 3 | 1
11 | Ventilator | 3 | 3 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 1 | 2

## 51
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 2 | 1
2 | Anesthesia Machine | 3 | 1 | 2
3 | Autoclave | 5 | 3 | 2
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 66 | 54 | 12
6 | Diathermy | 5 | 5 | 0
7 | ECG | 2 | 1 | 1
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 5 | 3 | 2
10 | X-Ray | 3 | 0 | 3
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 2 | 1

## 52
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 9 | 3 | 6
2 | Anesthesia Machine | 10 | 7 | 3
3 | Autoclave | 8 | 3 | 5
4 | Defibrilitator | 1 | 1 | 0
5 | Desktop Computer | 40 | 40 | 0
6 | Diathermy | 3 | 1 | 2
7 | ECG | 6 | 1 | 5
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 7 | 5 | 2
10 | X-Ray | 6 | 1 | 5
11 | Ventilator | 2 | 2 | 0
12 | CT Scan | 1 | 1 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 5 | 2 | 3

## 53
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 5 | 1 | 4
3 | Autoclave | 6 | 1 | 5
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 25 | 18 | 7
6 | Diathermy | 4 | 2 | 2
7 | ECG | 4 | 1 | 3
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 2 | 1
10 | X-Ray | 4 | 2 | 2
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 1 | 1 | 0

## 54
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 4 | 2 | 2
2 | Anesthesia Machine | 4 | 2 | 2
3 | Autoclave | 5 | 3 | 2
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 29 | 19 | 10
6 | Diathermy | 5 | 2 | 3
7 | ECG | 4 | 2 | 2
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 12 | 3 | 9
10 | X-Ray | 5 | 3 | 2
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 1 | 2

## 55
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 2 | 0
2 | Anesthesia Machine | 6 | 4 | 2
3 | Autoclave | 7 | 7 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 37 | 37 | 0
6 | Diathermy | 3 | 3 | 0
7 | ECG | 2 | 2 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 3 | 0
10 | X-Ray | 5 | 3 | 2
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 1 | 1

## 56
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 5 | 5 | 0
3 | Autoclave | 11 | 9 | 2
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 38 | 33 | 6
6 | Diathermy | 5 | 2 | 3
7 | ECG | 3 | 3 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 7 | 6 | 1
10 | X-Ray | 5 | 5 | 0
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 2 | 0 | 2

## 57
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 1 | 1
2 | Anesthesia Machine | 2 | 1 | 1
3 | Autoclave | 7 | 5 | 2
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 15 | 13 | 2
6 | Diathermy | 4 | 2 | 2
7 | ECG | 6 | 2 | 4
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 2 | 1
10 | X-Ray | 6 | 3 | 3
11 | Ventilator | 4 | 4 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 1 | 2

## 58
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 1 | 1 | 0
3 | Autoclave | 5 | 0 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 16 | 16 | 0
6 | Diathermy | 2 | 2 | 0
7 | ECG | 1 | 1 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 3 | 3 | 0
10 | X-Ray | 1 | 1 | 0
11 | Ventilator | 1 | 1 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 1 | 1 | 0

## 59
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 4 | 2 | 0
3 | Autoclave | 8 | 8 | 0
4 | Defibrilitator | 1 | 1 | 0
5 | Desktop Computer | 3 | 3 | 0
6 | Diathermy | 8 | 5 | 3
7 | ECG | 3 | 3 | 0
8 | Endoscopy | 1 | 1 | 0
9 | Microscope | 11 | 11 | 0
10 | X-Ray | 5 | 5 | 0
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 1 | 1 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 4 | 4 | 0

## 60
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 5 | 1 | 0
2 | Anesthesia Machine | 1 | 1 | 0
3 | Autoclave | 2 | 2 | 0
4 | Defibrilitator
5 | Desktop Computer | 20 | 15 | 5
6 | Diathermy | 3 | 0 | 3
7 | ECG | 2
8 | Endoscopy
9 | Microscope | 2 | 1
10 | X-Ray | 2 | 2
11 | Ventilator
12 | CT Scan | 0 | 0 | 0
13 | MRI
14 | Ultrasonogram | 1

## 61
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 3 | 0
2 | Anesthesia Machine | 5 | 4 | 1
3 | Autoclave | 9 | 4 | 0
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 32 | 32 | 0
6 | Diathermy | 6 | 6 | 0
7 | ECG | 10 | 10 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 5 | 2 | 3
10 | X-Ray | 8 | 8 | 0
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 0 | 3

## 62
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance
2 | Anesthesia Machine
3 | Autoclave
4 | Defibrilitator
5 | Desktop Computer
6 | Diathermy
7 | ECG
8 | Endoscopy
9 | Microscope
10 | X-Ray
11 | Ventilator
12 | CT Scan
13 | MRI
14 | Ultrasonogram

## 63
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 4 | 4 | 0
3 | Autoclave | 9 | 7 | 2
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 40 | 25 | 15
6 | Diathermy | 7 | 4 | 3
7 | ECG | 3 | 2 | 1
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 4 | 3 | 1
10 | X-Ray | 3 | 3 | 0
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 1 | 1 | 0

## 64
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 3 | 3 | 0
2 | Anesthesia Machine | 9 | 7 | 2
3 | Autoclave | 3 | 2 | 1
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 23 | 23 | 0
6 | Diathermy | 8 | 7 | 0
7 | ECG | 4 | 3 | 1
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 14 | 6 | 0
10 | X-Ray | 7 | 5 | 2
11 | Ventilator | 1 | 0 | 1
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 6 | 3 | 3

## 65
| Equipment | No. of available | No. of functional | No. of repairable
1 | Ambulance | 2 | 2 | 0
2 | Anesthesia Machine | 4 | 3 | 1
3 | Autoclave | 5 | 4 | 1
4 | Defibrilitator | 0 | 0 | 0
5 | Desktop Computer | 8 | 8 | 0
6 | Diathermy | 4 | 4 | 0
7 | ECG | 3 | 1 | 0
8 | Endoscopy | 0 | 0 | 0
9 | Microscope | 1 | 1 | 0
10 | X-Ray | 3 | 0 | 3
11 | Ventilator | 0 | 0 | 0
12 | CT Scan | 0 | 0 | 0
13 | MRI | 0 | 0 | 0
14 | Ultrasonogram | 3 | 1 | 2